## USER GUIDE - SO
EDM Storm Overflow Annual Return: Quick User Guide
!! See separate User Guide in Word format for further detail !!
General Guidance:
- The EDM annual return 2021 should list all storm overflows with spills to the environment (permitted/unpermitted with permit application made), irrespective of whether they are currently have EDM installed or existing EDM permit condition.
- The EDM annual return 2021 should include data for (1) All storm overflows with an existing EDM permit condition, and (2) All storm overflows with EDM intalled through the WINEP/AMP7 EDM programme, with or without a current EDM permit condition. Data should also be included for overflows where a permit has been applied for by the WaSC but not yet issued.
- WaSCs are expected to provide EDM data for overflows without a current EDM requirement (e.g. not secured through the WINEP nor with a permit requirement), where they deem this data accurate & representative of spills
- Reported spill data (count & duration) should be considered reliable, verified and an accurate representation of the spills that occurred during the reporting period. Data that is known to be erroneous should not be reported on. See main User Guide (Word document) for more information and examples.
- Base information (e.g. EA permit reference, site name, Outlet NGR etc.) on overflows must directly match the Environment Agency (EA) Consents Database (see "Resources" below).
- Where EDM reporting operability is <90% (Column Q) subsequent columns Primary Reason (Column R) and Action Taken / Planned (Column S) must be completed.
- If spill count data (column P + valid data in previous years) exceeds thresholds in the SOAF guidance then columns T, U, V (Spill Frequency - operational & planning info) must be completed.
- A number of columns are "do once"; the data are not expected to change year on year. These headings are highlighted in grey below. Data in remaining columns are expected to change each year. These headings are highlighted in light green below.
- Water Framework Directive (WFD) data in columns I & J have been pre-populated by the EA using the Outlet NGR provided by WaSCs [November 2021] in column H.
- Any additional overflows not previously provided, or newly-reconciled Consents Database permit references must be submitted by WaSCs to the EA by Friday 21 January 2022. The EA will then identify the relevant WFD information & return to WaSCs on Friday 28 January ahead of final submission by WaSCs the following month.
Resources:
- Environment Agency national consents database: |  | Consented Discharges to Controlled Waters with Conditions - data.gov.uk
(Note the EA Consents Database is updated quarterly on .gov.uk)
- Environment Agency Risk-Based Approach to the Monitoring of Storm Discharges (September 2013)
- Environment Agency Storm Overflow Assessment Framework (June 2018): |  |  | Storm Overflow Assessment Framework
Guide to columns & drop-down selection:
Water Company Name | (Column A)
Site Name (EA Consents Database) | (Column B)
- Site name that matches exactly with column "Discharge_Site_Name" on EA consents database
Site Name (WaSC Operational Name) | (Column C)
- Site name used by the WaSC for operational reasons. The EA Consents Database Site Name must be provided in column B - the WaSC site name is not a substitute
- Column C is optional
EA Consents Database Permit Reference | (Column D)
- As shown in column "Permit Number" on EA Consents Database. NB: this may occassionally differ from number shown on actual permit or WaSC URN/folio
WaSC Supplementary Permit Ref. | (Column E)
- WaSC reference number for permitted overflow. The EA Consents Database permit reference must be provided in column D - the WaSC permit reference is not a substitute
- Column E is optional
Activity reference | (Column F)
- Listed on new format permits under Schedule 1 – “Operations” (e.g. A1 / A2 etc.)
- Listed on old format permits under Schedule conditions (e.g. Schedule No. A.115K/00-01)
- NB: This is not the same as columns “DISCHARGE_SITE_TYPE_CODE” or “DSI_TYPE_DESCRIPTION” on EA consents database
Storm discharge asset type | (Column G)
- As detailed in risk-based approach to EDM document (2013)
- See the more detailed User Guide (Word format) for a table of definitions (page 6)
- NB: This is not the same as columns “DISCHARGE_SITE_TYPE_CODE” or “DSI_TYPE_DESCRIPTION” on EA consents database
Drop-down options Column G:
SO on sewer network | On network - storm overflow. Can be direct or associated with a network storm tank. Not associated with pumping station
Storm discharge at pumping station | On network - pumping station
Inlet SO at WwTW | Storm overflow (direct to the environment) permitted as part of a WwTW permit. Exception is a storm tank - see note on next row
Storm tank at WwTW | Storm overflow via a storm tank, permitted as part of a WwTW permit. Note this can be physically remote from the WwTW
Other storm discharge asset type | Any storm overflow that does not clearly align with the four categories above. These may be used to devlop future drop-down categories.
Outlet discharge NGR (Consents Database) | (Column H)
- This is the actual discharge point to the environment.
- Listed on EA consents database as “OUTLET_GRID_REF”. This is the reference to use
- Also listed on new format permits under Schedule 3 - "Discharge Point NGR"
- Also listed on old format permits under "Place of Discharge"
- NB: This is not the same as columns “DISCHARGE_NGR” (discarhge site NGR) or “EFFLUENT_GRID_REF” (effluent monitoring NGR) on EA consents database
WFD Waterbody ID (Cycle 2) | (Column I)
- Identification number of WFD waterbody at the discharge point (as per Cycle 2)
- Prefixed with "GB…"
- Pre-populated by EA using outlet discharge NGR (column H). Any further overflows requiring the EA to populate WFD information must be submitted to the EA by Friday 21 January 2022
WFD Waterbody Catchment Name (Cycle 2) | (Column J)
- Name of WFD waterbody catchment at the discharge point (as per Cycle 2)
- NB: This is not the same as "CATC_NAME" on EA consents database
- Pre-populated by EA using outlet discharge NGR (column H). Any further overflows requiring the EA to populate WFD information must be submitted to the EA by Friday 21 January 2022
Receiving Water / Environment - common name (Consents Database) | (Column K)
- Listed on EA consents database under "RECEIVING_WATER" NB: this may differ from receiving water shown on actual permit
- Also listed on new format permits under Schedule 3 - "Discharge Point"
- Also listed on old format permits under "Place of Discharge"
Shellfishery | (Column L)
- Populate for storm overflows that have Shellfish Water EDM requirements
Bathing Beach | (Column M)
- Populate for storm overflows that have Bathing Water EDM requirements
Initial EDM commission date | (Column N)
- Date EDM commissioned; the date data can be expected from the EDM
- See the more detailed User Guide (Word format) for more detailed table of definitions (page 7)
- Note: Installation date may precede commissioned date
Drop-down options Column M:
Installed but not yet commissioned | Installed in current reporting year but data not yet expected
Commissioned in 2020 - full year data expected | Installed in previous reporting year
Commissioned in 2019 - full year data expected | Installed in previous reporting year
Commissioned in 2018 - full year data expected | Installed in previous reporting year
Commissioned in 2017 - full year data expected | Installed in previous reporting year
Commissioned in 2016 - full year data expected | Installed in previous reporting year
Commissioned pre-2016 - full year data expected | Installed in previous reporting year
Jan 2021
Feb 2021
Mar 2021
April 2021
May 2021
June 2021
July 2021
August 2021
September 2021
October 2021
November 2021
December 2021
EDM to be installed by December 2023 | EDM not yet installed
Total Duration (hr) of all spills | (Column O)
- Total spill duration prior to processing through the 12-24h count method
Counted spills using 12-24h count method | (Column P)
- Spill count post-processed through the 12-24h count method
EDM Operation - % reporting period EDM operational | (Column Q)
- Based on Initial Commissioning Date (Column M) e.g. commissioned in July of reporting year then period Jul-Dec would be 100%; if commissioned in previous reporting year then period Jan-Dec would be 100%
- e.g. commissioned in September of reporting year then 100% reporting period would be Sep.-Dec.
- e.g. commissioned in any previous reporting year then 100% reporting period would be Jan.-Dec.
- See the more detailed User Guide (Word format) for further information & examples
EDM Operation - Reporting % - Primary Reason <90% | (Column R)
- Core reason why EDM may not have been operational <90% of period (Column Q)
- Select primary reason only
- Category must be selected when period of EDM operation (column Q) is less than 90%. Optional to complete this column when period of EDM operation is 90% or over
- See the more detailed User Guide (Word format) for table of definitions (page 8)
Drop-down options Column R:
Access - Unable to retrieve data from non-telemetry data logger (NB: not to be used for delayed access to fix existing fault) | When access causes inability to retrieve data; e.g. landowner permission. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead. Not to be used for delayed access t fix existing operational fault
Capital / maintenance works affect EDM operation | Where planned works affect EDM operation. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead
Comms failure / issue | Any part of communication failure; e.g. intermittent signal or antenna damage. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead. Similar if comms loss caused by power failure – select “Power failure / issue” instead
EDM not yet installed | E.g. not yet scheduled for installation, or installation not currently feasible
EDM installed - not yet commissioned | E.g. installed after reporting period. E.g. installed within reporting period but data not yet calibrated
Installation set-up/design issue | When installation or design (e.g. choice of location) affects EDM operability. E.g. Original design location cannot distinguish between two overflows & original EDM needs to be relocated to more representative point. E.g. Original design location affected by river ingress & EDM requires relocation. E.g. Alternative monitor type required
Power failure / issue | Any part of power failure; e.g. loss of mains supply / battery fault. Consider core reason – if caused by cutting through cable then select “Capital / maintenance works” category instead
Sensor failure / issue | Any part of sensor failure; e.g. water ingress to connection between sensor & logger. Consider core reason – if water ingress caused by poor choice of location for installation & requires adjustment then select “Installation set-up/design issue” category instead
Telemetry or data archiving failure / issue | Any part of telemetry failure; e.g. dial-in or storage/sending of data problems. Consider core reason – if archiving problem caused by power fault or incorrect installation then use “Power failure / issue” or ”Installation set-up/design issue” categories respectively. Similar if data transfer caused by intermittent signal – select “Comms failure / issue” instead
No longer operational as an overflow - permit revoked or to be revoked
Reporting % - Action taken / planned - Status & Timeframe | (Column S)
- Indicate whether action has already been taken / is planned to be taken, or whether there is an ongoing investigation to identify the appropriate action
- Which month this activity was completed / is planned
- See the more detailed User Guide (Word format) for table of definitions (page 10)
Drop-down options Column R:
Scheduled | Appropriate operational action to address <90% EDM operation is planned
Resolved - January | Appropriate operational action has already been taken & issue affecting EDM operation resolved
Resolved - Feburary | As above
Resolved - March | As above
Resolved - April | As above
Resolved - May | As above
Resolved - June | As above
Resolved - July | As above
Resolved - August | As above
Resolved - September | As above
Resolved - October | As above
Resolved - November | As above
Resolved - December | As above
N/A - Ongoing investigation | Appropriate action not yet identified
N/A - EDM to be installed by December 2023 | Use when selection in Column R is “EDM not yet installed”
Spill Frequency - Operational Review Outcome - Primary Reason | (Column T)
- Core reason for spill count (Column P)
- Select primary reason only
- Category must be selected when spill frequency exceeds SOAF threshold (using column P + data from previous years)
- See the more detailed User Guide (Word format) for table of definitions (page 10)
Drop-down options Column T:
Performance - Partial / no capacity due to blockage or restriction (e.g. roots / grid) - maintenance issue | Spill frequency primarily caused by maintenance issue; e.g. roots causing channel restriction e.g. blocked screens causing premature spills
Performance - Sewer collapse (partial / full) - infrastructure issue | Spill frequency primarily caused by infrastructure issue; e.g. partial collapse of sewer
Performance - Groundwater inundation | Groundwater inundation is primary reason for spills; e.g. GW inundation in chalk catchment causing high spill frequency
Performance - Infiltration | High spill frequency caused by infiltration. Requires investment to infrastructure to resolve
Performance - Asset power failure | E.g. frequent power supply failure caused high spill frequency
Performance - Pump failure / issue | Spill frequency primarily caused by pump failure / premature spills; e.g. pumping station struggles to maintain PFF & review of rising main design required
Performance - Other maintenance / capital works (e.g. jetting) | Spill frequency primarily caused by works; e.g. jetting
Performance - Not designed to meet Bathing / Shellfish Water directive | Spill frequency threshold reached because asset not yet designed to meet BW or SFW requirements
Performance - Asset configuration (e.g. PS/rising main/storm tanks) | Spill frequency primarily caused by inappropriate asset/configuration; e.g. inlet design causing premature spills & requires further investigation
Data collection - EDM non-representative location | E.g. Records multiple discharge points & cannot distinguish between the two. Requires relocation
Data collection - Confirmed exceptional weather – Remaining spills not above SOAF threshold | High spill frequency caused by exceptional weather events. Subsequent analysis of these data show adjusted spill frequency now not above SOAF threshold
Data collection - Tidal / river inundation | EDM spill frequency data quality affected by tidal or river inundation; e.g. tidal cycle causes levels to reverse flows in outfall pipe
Data collection - Poor quality (e.g. logger calibration / sensor issues) | E.g. logger calibration / sensor issues
Not asset maintenance - hydraulic capacity | Spill frequency primarily caused by hydraulic capacity issue rather than something that can be fixed operationally
Spill Frequency - Action taken / planned - Status & Timeframe | (Column U)
- Indicate whether action has already been taken / is planned to be taken, or whether there is an ongoing investigation to identify the appropriate action
- Which month this activity was completed / is planned
- Category must be selected when spill frequency exceeds SOAF threshold (using column P + data from previous years)
- See the more detailed User Guide (Word format) for table of definitions (page 11)
Drop-down options Column U:
Scheduled | Appropriate operational action to address spill frequency is planned
Resolved - January | Appropriate operational action has already been taken & issue affecting spill frequency resolved
Resolved - Feburary | As above
Resolved - March | As above
Resolved - April | As above
Resolved - May | As above
Resolved - June | As above
Resolved - July | As above
Resolved - August | As above
Resolved - September | As above
Resolved - October | As above
Resolved - November | As above
Resolved - December | As above
N/A - Ongoing investigation | Appropriate operational action not yet identified
N/A - Hydraulic Capacity | Issue is due to hydraulic capacity and unable to be fixed operationally through asset maintenance programme
Spill Frequency - Planning review position | (Column V)
- Action taken to address spill performance through the planning framework
- Select primary reason only
- Category must be selected when spill frequency exceeds SOAF threshold (using column O + data from previous years)
- Follows SOAF for addressing high frequency discharges from storm overflows under the UWWTR (see Figure 1 in SOAF document, 2018)
- Stage 1 of the SOAF should be applied to all high spills as good practice, as part of the initial investigation to understand whether spills were due to exceptional weather events, asset performance or hydraulic capacity. Stage 1 is expected on a continual rolling basis independent of any WINEP drivers.
- Progressing further past stage 1 is expected when a WINEP driver exists. Progressing past stage 1 without a WINEP driver would be proactive but at WaSC discretion.
- See the more detailed User Guide (Word format) for table of definitions (page 12)
Drop-down options Column V:
SOAF N/A - Proposed SFTP (overflow previously improved) | Schemes previously improved via SOAF but now identified for Spill Frequency Trigger Permitting
Stage 1a: Confirmed "exceptional weather" issue | See SOAF definition
Stage 1b: Confirmed "asset maintenance" issue | See SOAF definition
Stage 1c: Confirmed "hydraulic issue" | If not “exceptional weather” or “asset maintenance”
U_INV driver - Stage 2 or 3: Environmental / UWWTR assessments or improvement options appraisal | SOAF invesitgation ongoing at Stage 2/3
U_INV driver - Stage 4: Cost beneficial outcome not yet determined | In process of Cost Benefit Analysis (CBA) but no outcome at present
U_INV driver - Stage 4: No cost beneficial solution | CBA indicates costs are disproportionate to environmental benefit
U_IMP4 driver - Stage 4: Spill reduction scheme - On current WINEP/AMP7 or Green Recovery | U_INV CBA indicates spill reduction scheme is cost beneficial and is on current WINEP or other planned improvement programme
U_IMP4 driver - Stage 4: Potential spill reduction scheme - Not yet on current WINEP/AMP7 or Green Recovery | U_INV CBA indicates a spill reduction scheme may be cost beneficial
N/A - Operational solution applied | Planning framework not required - spill frequency remedied through operational solution

## Storm Overflows
EDM STORM OVERFLOW REGULATORY ANNUAL RETURN
Please send to email inbox: askED@environment-agency.gov.uk
Please name file using the following convention: "EDM Return WaSC period.xls" .
For example if Severn Trent Water had a bathing water return for 2021 it would be "EDM Return Severn Trent Water Bathing Season 2021.xls"
For example if Wessex Water had a storm overflow annual return for 2021 it would be "EDM Return Wessex Water Storm Overflow Annual 2021.xls"
For example if Southern Water had an emergency overflow annual return for 2021 it would be "EDM Return Southern Water Emergency Overflow Annual 2021.xls"
Red text - Requires attention (e.g. permit number not found on Consents Database)
Pink text - amended by EA - please review (e.g. reference amended to match Consents Database)
Cell is missing data - to be completed by WaSC | [16 empty] | Complete columns R & S when data in column Q is <90% |  | Enter in columns T, U, V when relevant spill frequency data (column P + valid historic) is above the SOAF threshold (pg. 2 of SOAF)
Blue text = data populated by EA (using WaSC information provided Nov 2021 or Jan 2022)
Water Company Name | Site Name (EA Consents Database) | Site Name (WaSC operational name) [optional] | EA Permit Reference (EA Consents Database) | WaSC supplementary Permit Ref. [optional] | Activity Reference on Permit (if >1 discharge on permit) | Storm Discharge Asset Type | Outlet Discharge NGR (EA Consents Database) | WFD Waterbody ID (Cycle 2) (discharge outlet) | WFD Waterbody Catchment Name (Cycle 2) (discharge outlet) | Receiving Water / Environment (common name) (EA Consents Database) | Shellfish Water (only populate for storm overflows with a Shellfish Water EDM requirement) | Bathing Water (only populate for storm overflows with a Bathing Water EDM requirement) | Initial EDM Commission Date | Total Duration (hrs) all spills prior to processing through 12-24h count method | Counted spills using 12-24h count method | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe | High Spill Frequency - Operational Review - Primary Reason | High Spill Frequeny - Action taken / planned - Status & timeframe | High Spill Frequency - Environmental Enhancement - Planning Position (Hydraulic Capacity)
Dwr Cymru Welsh Water | 3 ELMS ROAD COMBINED SEWER OVERFLOW |  | AN0078801 | AN0078801 | 1 | CSO on sewer network | SO4948140832 | GB109055037040 | Yazor Bk - source to conf R Wye | YAZOR BROOK |  |  | Commissioned in 2017 - full year data expected | 2 | 8 | 95.06
Dwr Cymru Welsh Water | PUMPING STATION AT MOCCAS STW |  | AN0379901 | AN0379901 | 1 | Storm discharge at pumping station | SO3547842211 | GB109055037000 | Preston Bk - source to conf R Wye | TRIBUTARY OF RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 526.5 | 41 | 99.65
Dwr Cymru Welsh Water | ALDFORD SEWAGE TREATMENT WORKS |  | CM0115201 | CM0115201 | A2 | Inlet CSO at WwTW | SJ4215659533 | GB111067052120 | Aldford Brook | ALDFORD BROOK |  |  | Commissioned in 2017 - full year data expected | 779.75 | 92 | 99.8 |  |  | Not asset maintenance - Hydraulic capacity | N/A - Ongoing investigation | Stage 1c: Confirmed "hydraulic issue"
Dwr Cymru Welsh Water | BACHE TANKS CSO |  | CG0359901 | CG0359901 |  | CSO on sewer network | SJ4028868076 | GB111067056930 | Finchetts Gutter | BACHE BROOK |  |  | Commissioned in 2017 - full year data expected | 28.5 | 12 | 99.99
Dwr Cymru Welsh Water | CHESTER BELGRAVE PARK SPS |  | CG0360901 | CG0360901 | 1 | Storm discharge at pumping station | SJ4127664828 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0 | 0 | 99.97
Dwr Cymru Welsh Water | BOATHOUSE INN CSO |  | NPSWQD005835 | NPSWQD005835 |  | CSO on sewer network | SJ4115666091 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0.5 | 2 | 33.05 | Comms failure / issue | Resolved - September
Dwr Cymru Welsh Water | BRAMPTON STREET CSO |  | AN0014601 | AN0014601 |  | CSO on sewer network | SO6012124462 | GB109055029730 | Rudhall Bk - source to conf R Wye | RUDHALL BROOK |  |  | Commissioned in 2018 - full year data expected | 21.25 | 31 | 86.73 | Comms failure / issue | Resolved - Feburary |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | JUNCTION OF CRUXWELL ST & ROWBERRY |  | AN0122001 | AN0122001 |  | CSO on sewer network | SO6558355196 | GB109055041850 | Frome - source to conf Tedstone Bk | RIVER FROME |  |  | Commissioned in 2019 - full year data expected | 54.75 | 100 | 97.38 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | PORTHOUSE FARM INDUSTRIAL SITE PS |  | AN0069901 | AN0069901 |  | Storm discharge at pumping station | SO6557755195 | GB109055041850 | Frome - source to conf Tedstone Bk | RIVER FROME |  |  | Commissioned in 2017 - full year data expected | 25.5 | 13 | 99.94
Dwr Cymru Welsh Water | CSO AT BROMYARD WWTW |  | NPSWQD009905 | NPSWQD009905 |  | Inlet CSO at WwTW | SO6583054450 | GB109055036780 | Frome - conf Tedstone Bk to conf R Lugg | RIVER FROME |  |  | Commissioned in 2017 - full year data expected | 4.5 | 13 | 99.91
Dwr Cymru Welsh Water | CANNOP ROAD SEWAGE PUMPING STATION |  | NPSWQD010007 | NPSWQD010007 | 1 | Storm discharge at pumping station | SO5934011362 | GB109054032640 | Cannop Bk - source to R Severn Estuary | CANNOP BROOK |  |  | Commissioned in 2017 - full year data expected | 39.5 | 21 | 87.6 | Comms failure / issue | Resolved - Feburary
Dwr Cymru Welsh Water | CAWDOR ARCH COMBINED SEWER OVERFLOW |  | AN0014501 | AN0014501 |  | CSO on sewer network | SO5965224489 | GB109055029730 | Rudhall Bk - source to conf R Wye | RUDHALL BROOK |  |  | Commissioned in 2016 - full year data expected | 0 | 0 | 4.19 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | CRANE STREET CSO |  | CM0167501 | CM0167501 |  | CSO on sewer network | SJ3980966444 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0.25 | 1 | 12.25 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | CHESTER PARKGATE COURT SPS |  | CM0191201 | CM0191201 | 1 | Storm discharge at pumping station | SJ3994967898 | GB111067056930 | Finchetts Gutter | BACHE BROOK |  |  | Commissioned in 2017 - full year data expected | 36.75 | 5 | 99.39
Dwr Cymru Welsh Water | CHESTER WASTEWATER TREATMENT WORKS |  | CM0017801 | CM0017801 | A2 | Storm tank at WwTW | SJ 39523 66604 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2018 - full year data expected | 563.5 | 78 | 99.98 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | CHESTER TROOPER INN CSO |  | CM0184601 | CM0184601 |  | CSO on sewer network | SJ4356365617 | GB111067056930 | Finchetts Gutter | TRIB OF BACHE BROOK |  |  | Commissioned in 2017 - full year data expected | 397.25 | 53 | 100
Dwr Cymru Welsh Water | CHESTER WEIR (SOUTH BANK) CSO |  | CM0125201 | CM0125201 |  | CSO on sewer network | SJ4074465724 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 123.75 | 25 | 99.98
Dwr Cymru Welsh Water | CSO AT CHESTER STW |  | NPSWQD005869 | NPSWQD005869 |  | Inlet CSO at WwTW | SJ3952466604 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2018 - full year data expected | 93 | 42 | 99.98
Dwr Cymru Welsh Water | CHRISTLETON WHITCHURCH ROAD PS |  | CM0185501 | CM0185501 | 1 | Storm discharge at pumping station | SJ4418065009 | GB111067056930 | Finchetts Gutter | CALDY BROOK |  |  | Commissioned in 2019 - full year data expected | 48.5 | 24 | 99.88
Dwr Cymru Welsh Water | CONGREGATIONAL CHAPEL CSO |  | AN0069801 | AN0069801 |  | CSO on sewer network | SO6579054590 | GB109055036780 | Frome - conf Tedstone Bk to conf R Lugg | RIVER FROME |  |  | Commissioned in 2016 - full year data expected | 329.75 | 67 | 100 |  |  | Not asset maintenance - Hydraulic capacity | N/A - Ongoing investigation | Stage 1c: Confirmed "hydraulic issue"
Dwr Cymru Welsh Water | EIGN 1B COMBINED SEWER OVERFLOW |  | AN0315201 | AN0315201 |  | Inlet CSO at WwTW | SO5213038850 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 0 | 0 | 99.3
Dwr Cymru Welsh Water | BARTON ROAD COMBINED SEWER OVERFLOW |  | AN0266401 | AN0266401 |  | CSO on sewer network | SO5047439713 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | YAZOR BROOK (CULVERTED) |  |  | Commissioned in 2018 - full year data expected | 56.5 | 14 | 99.08
Dwr Cymru Welsh Water | CSO ADJACENT A548 ROAD BRIDGE |  | CG0324302 | CG0324302 |  | CSO on sewer network | SJ3195037760 | GB111067051600 | Morlas Brook | THE GREENFIELD VALLEY (HOLYWEL |  |  | Commissioned in 2019 - full year data expected | 48.5 | 27 | 100
Dwr Cymru Welsh Water | CSO AT TATTENHALL STW |  | CM0105502 | CM0105502 |  | Inlet CSO at WwTW | SJ4789059190 | GB111067052120 | Aldford Brook | GOLBOURNE BROOK |  |  | Commissioned in 2018 - full year data expected | 354 | 83 | 99.98 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | DALESIDE COMBINED SEWER OVERFLOW |  | CG0405401 | CG0405401 |  | CSO on sewer network | SJ4058969734 | GB111067056930 | Finchetts Gutter | TRIBUTARY OF FINCHETT'S GUTTER |  |  | Commissioned in 2017 - full year data expected | 0 | 0 | 99.56
Dwr Cymru Welsh Water | DEE LANE CSO |  | CM0124801 | CM0124801 |  | CSO on sewer network | SJ4133766245 | GB111067056930 | Finchetts Gutter | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 307.25 | 78 | 100 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | DEVA TERRACE CSO |  | CM0124701 | CM0124701 |  | CSO on sewer network | SJ4140066300 | GB111067056930 | Finchetts Gutter | RIVER DEE |  |  | Commissioned in 2019 - full year data expected | 50.5 | 50 | 96.4 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SPS AT EARDISLEY STW |  | AL1001102 | AL1001102 | A1 | Storm discharge at pumping station | SO3119248566 | GB109055037070 | Willersley Bk - source to conf R Wye | TRIBUTARY OF RIVER WYE |  |  | Commissioned in 2017 - full year data expected | 629 | 47 | 99.93 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | ECCLESTON PUMPING STATION |  | CM0185001 | CM0185001 | 1 | Storm discharge at pumping station | SJ4159062685 | GB111067052140 | Henlake Brook | DEE |  |  | Commissioned in 2017 - full year data expected | 50.75 | 8 | 99.78
Dwr Cymru Welsh Water | EDGAR PARK CSO |  | CM0167601 | CM0167601 |  | CSO on sewer network | SJ4073565711 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 9 | 9 | 98.96
Dwr Cymru Welsh Water | EIGN WASTEWATER TREATMENT WORKS |  | AH1001101 | AH1001101 | 2 | Storm tank at WwTW | SO5221438795 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2019 - full year data expected | 412 | 50 | 99.98 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | FOWNHOPE SEWAGE TREATMENT WORKS |  | AN0390901 | AN0390901 |  | Inlet CSO at WwTW | SO5756534007 | GB109055037112 | Wye - Hampton Bishop to conf Kerne Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 1.75 | 1 | 99.92
Dwr Cymru Welsh Water | GAYTON CEDARWAY PUMPING STATION |  | CM0193801 | CM0193801 | 1 | Storm discharge at pumping station | SJ2777080260 | 166 | #N/A | UNNAMED DITCH TO RIVER DEE | Dee (East) |  | Commissioned pre-2016 - full year data expected | 0 | 0 | 5.81 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | GAYTON PARKWAY CSO |  | CM0197201 | CM0197201 |  | CSO on sewer network | SJ2826080436 | 166 | #N/A | TRIB OF RIVER DEE |  |  | Commissioned pre-2016 - full year data expected | 6.75 | 4 | 99.71
Dwr Cymru Welsh Water | GLADSTONE ROAD CSO |  | CG0359801 | CG0359801 |  | CSO on sewer network | SJ2940777342 | 166 | #N/A | UNNAMED WATERCOURSE |  |  | Commissioned pre-2016 - full year data expected | 23.25 | 12 | 99.99
Dwr Cymru Welsh Water | GRANDSTAND ROAD CSO |  | AN0077701 | AN0077701 |  | CSO on sewer network | SO4936341329 | GB109055037040 | Yazor Bk - source to conf R Wye | YAZOR BROOK |  |  | Commissioned in 2017 - full year data expected | 39.75 | 48 | 99 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | GREAT HOUGH BROOK CSO |  | AN0014901 | AN0014901 |  | CSO on sewer network | SO5955316818 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | A TRIB OF THE RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 45.75 | 28 | 99.79
Dwr Cymru Welsh Water | GREENFIELDS DRIVE CSO |  | CM0170201 | CM0170201 |  | CSO on sewer network | SJ2905575755 | GB531206908100 | MERSEY | DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 9.75 | 17 | 100
Dwr Cymru Welsh Water | HANDBRIDGE GREENBANK SPS |  | CM0185601 | CM0185601 | A1 | Storm discharge at pumping station | SJ4117064610 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0 | 0 | 100
Dwr Cymru Welsh Water | HARP INN CSO |  | CM0170301 | CM0170301 |  | CSO on sewer network | SJ2892875942 | GB531206908100 | MERSEY | DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 60.25 | 34 | 74.83 | Comms failure / issue | Resolved - September
Dwr Cymru Welsh Water | BELMONT ROUNDABOUT CSO |  | AN0078601 | AN0078601 |  | CSO on sewer network | SO5072239508 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 135.5 | 35 | 99.39
Dwr Cymru Welsh Water | GREYFRIARS BRIDGE CSO |  | AN0077101 | AN0077101 |  | CSO on sewer network | SO5073039570 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2017 - full year data expected | 216.75 | 51 | 92.15 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SEATON AVENUE CSO |  | AN0078101 | AN0078101 |  | CSO on sewer network | SO5344740624 | GB109055036790 | Lugg - conf R Arrow to conf R Wye | LUGG RHEAY |  |  | Commissioned in 2016 - full year data expected | 1.5 | 2 | 65.04 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | THREE ELMS ROAD CSO |  | AN0078901 | AN0078901 |  | CSO on sewer network | SO4920040900 | GB109055037040 | Yazor Bk - source to conf R Wye | YAZOR BROOK |  |  | Commissioned in 2019 - full year data expected | 9.5 | 13 | 99.78
Dwr Cymru Welsh Water | HESWALL SEABANK ROAD |  | CM0173801 | CM0173801 |  | CSO on sewer network | SJ2620080700 | GB531206908100 | MERSEY | PIPE TO RIVER DEE |  |  | Commissioned pre-2016 - full year data expected | 608.25 | 136 | 96.71 |  |  | Not asset maintenance - Hydraulic capacity | N/A - Ongoing investigation | Stage 1c: Confirmed "hydraulic issue"
Dwr Cymru Welsh Water | HESWALL STORAGE TANK CSO HESWALL |  | CG0355101 | CG0355101 |  | CSO on sewer network | SJ2619080420 | GB531206908100 | MERSEY | RIVER DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 150.25 | 25 | 100
Dwr Cymru Welsh Water | HESWALL WASTEWATER TREATMENT WORKS |  | CG0362601 | CG0362601 |  | Storm tank at WwTW | SJ2497081795 | GB641211630001 | Mersey Mouth | DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 0 | 0 | 92.29
Dwr Cymru Welsh Water | COTTAGE LANE PUMPING STATION |  | CM0193701 | CM0193701 | 1 | Storm discharge at pumping station | SJ2650080000 | 166 | #N/A | THE DEE |  |  | Commissioned pre-2016 - full year data expected | 2 | 1 | 27.27 | Comms failure / issue | Resolved - September
Dwr Cymru Welsh Water | HOMS ROAD PUMPING STATION CSO |  | AN0014401 | AN0014401 |  | Storm discharge at pumping station | SO5964024400 | GB109055037112 | Wye - Hampton Bishop to conf Kerne Br | RIVER WYE |  |  | Commissioned in 2019 - full year data expected | 109.5 | 33 | 90.49 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | THE RAKE AND PIKLE PUMPING STATION |  | CM0184901 | CM0184901 | 1 | Storm discharge at pumping station | SJ4249864260 | GB111067052140 | Henlake Brook | CALDY BROOK |  |  | Commissioned in 2018 - full year data expected | 12.5 | 2 | 99.85
Dwr Cymru Welsh Water | JOYFORD MILL PUMPING STATION |  | AN0070101 | AN0070101 | 1 | Storm discharge at pumping station | SO5812013720 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | TRIB OF THE RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 4.5 | 2 | 49.12 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | MANHOLE 27 COMBINED SEWER OVERFLOW |  | AN0125601 | AN0125601 |  | CSO on sewer network | SO3003556578 | GB109055036620 | Arrow - conf Gladestry Bk to conf Gilwern Bk | RIVER ARROW |  |  | Commissioned in 2016 - full year data expected | 64.25 | 24 | 99.74
Dwr Cymru Welsh Water | KINGTON - MANHOLE 29 |  | AN0125701 | AN0125701 |  | CSO on sewer network | SO3010056500 | GB109055036620 | Arrow - conf Gladestry Bk to conf Gilwern Bk | RIVER ARROW |  |  | Commissioned in 2017 - full year data expected | 42.75 | 32 | 99.76
Dwr Cymru Welsh Water | MANHOLE 50 COMBINED SEWER OVERFLOW |  | AN0125801 | AN0125801 |  | CSO on sewer network | SO2993856480 | GB109055036620 | Arrow - conf Gladestry Bk to conf Gilwern Bk | RIVER ARROW |  |  | Commissioned in 2017 - full year data expected | 10.5 | 5 | 58.52 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | #TBC | Kington CSO - Access Road to STW | #N/A | Unpermitted-72664 |  | CSO on sewer network | SO3064056910 | GB109055036620 | Arrow - conf Gladestry Bk to conf Gilwern Bk | RIVER ARROW |  |  | Commissioned in 2019 - full year data expected | 109 | 65 | 99.17 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | KINGTON WASTEWATER TREATMENT WORKS |  | AL1001501 | AL1001501 | A2 | Storm tank at WwTW | SO 30175 57085 | GB109055041840 | Arrow - conf Gilwern Bk to conf R Lugg | RIVER ARROW |  |  | Commissioned in 2019 - full year data expected | 41.5 | 27 | 99.92
Dwr Cymru Welsh Water | LEOMINSTER WASTEWATER TREATMENT WKS |  | AN0228301 | AN0228301 | A2 | Storm tank at WwTW | SO 50738 58450 | GB109055042030 | Lugg - conf Norton Bk to conf R Arrow | RIVER LUGG |  |  | Commissioned in 2018 - full year data expected | 221 | 44 | 91.5068 |  |  | Not asset maintenance - Hydraulic capacity | N/A - Ongoing investigation | Stage 1c: Confirmed "hydraulic issue"
Dwr Cymru Welsh Water | LITTLE ROODEE CSO |  | CM0167101 | CM0167101 |  | CSO on sewer network | SJ4043365597 | GB531206908100 | MERSEY | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 144.25 | 47 | 99.99 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | LOWER LYDBROOK RIVER WYE CSO |  | AN0015001 | AN0015001 |  | CSO on sewer network | SO5974416935 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | THE RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 0 | 0 | 99.83
Dwr Cymru Welsh Water | LYDBROOK SEWAGE TREATMENT WORKS SSO |  | AN0084001 | AN0084001 |  | Storm tank at WwTW | SO5826616920 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 257 | 25 | 99.92
Dwr Cymru Welsh Water | MALPAS SEWAGE TREATMENT WORKS |  | CM0084901 | CM0084901 |  | Inlet CSO at WwTW | SJ4934446923 | GB111067052230 | Bradley Brook | TRIBUTARY OF WYCH BROOK |  |  | Commissioned in 2017 - full year data expected | 14.25 | 19 | 99.99
Dwr Cymru Welsh Water | MARLSTON CUM LACHE PS SSO |  | CM0075401 | CM0075401 |  | Storm discharge at pumping station | SJ3744062530 | GB111067052150 | Balderton drain | TRIB.OF BALDERTON BROOK |  |  | Commissioned in 2019 - full year data expected | 38.75 | 19 | 99.49
Dwr Cymru Welsh Water | MARLSTON-CUM-LACHE PUMPING STATION |  | CM0184801 | CM0184801 | A1 | Storm discharge at pumping station | SJ3861263486 | GB111067052150 | Balderton drain | BALDERTON BROOK |  |  | Commissioned in 2018 - full year data expected | 51.25 | 12 | 100
Dwr Cymru Welsh Water | MARSHLANDS ROAD PS |  | CG038120101 | CG0381201 | 1 | Storm discharge at pumping station | SJ2888076240 | 166 | #N/A | RIVER DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 383.5 | 69 | 97.24 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | MISS CHAVES COMBINED SEWER OVERFLOW |  | AN0266301 | AN0266301 |  | CSO on sewer network | SO5064940730 | GB109055037040 | Yazor Bk - source to conf R Wye | WIDEMARSH BROOK |  |  | Commissioned in 2019 - full year data expected | 0.75 | 1 | 99.34
Dwr Cymru Welsh Water | MORETON ON LUGG WWTW |  | AH1002201 | AH1002201 | A2 | Storm tank at WwTW | SO 51665 45580 | GB109055036790 | Lugg - conf R Arrow to conf R Wye | RIVER LUGG |  |  | Commissioned in 2019 - full year data expected | 617 | 33 | 99.9 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | MOSTON ROAD CSO |  | NPSWQD009967 | NPSWQD009967 |  | CSO on sewer network | SJ4112569675 | GB111067056930 | Finchetts Gutter | TRIBUTARY OF FINCHETT'S GUTTER |  |  | Commissioned in 2017 - full year data expected | 14.25 | 2 | 100
Dwr Cymru Welsh Water | NESTON WASTEWATER TREATMENT WORKS |  | CM0069001 | CM0069001 | A2 | Storm tank at WwTW | SJ2870176792 | 166 | #N/A | EST WATERS OF STANNEY BROOK |  |  | Commissioned in 2016 - full year data expected | 1504.5 | 125 | 99.92 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | NEW COURT SEWAGE PUMPING STATION |  | AN0362401 | AN0362401 | 1 | Storm discharge at pumping station | SO5415241575 | GB109055036790 | Lugg - conf R Arrow to conf R Wye | TRIBUTARY OF RIVER LUGG |  |  | Commissioned in 2017 - full year data expected | 318 | 28 | 99.94
Dwr Cymru Welsh Water | NEWLAND SEWAGE TREATMENT WORKS |  | AS1003301 | AS1003301 | A2 | Storm tank at WwTW | SO 53665 09680 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 451.25 | 47 | 99.51
Dwr Cymru Welsh Water | CSO AT NEWLAND STW |  | AN029420101 | AN0294201 |  | Storm tank at WwTW | SO 55111 08949 | GB109055029670 | Valley Bk - source to conf R Wye | THE VALLEY BROOK |  |  | Commissioned in 2017 - full year data expected | 33 | 17 | 99.51
Dwr Cymru Welsh Water | CSO AT NEWLAND STW |  | AN029490101 | AN0294901 |  | Storm tank at WwTW | SO 55111 08949 | GB109055029670 | Valley Bk - source to conf R Wye | THE VALLEY BROOK |  |  | Commissioned in 2017 - full year data expected | 40.5 | 21 | 99.51 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | OLD DEE BRIDGE (NORTH BANK) CSO |  | CM0125401 | CM0125401 |  | CSO on sewer network | SJ4065765792 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0 | 0 | 100
Dwr Cymru Welsh Water | CHRISTLETON OLD WOMAN'S LANE CSO |  | CG0358801 | CG0358801 |  | CSO on sewer network | SJ4372165301 | GB111067056930 | Finchetts Gutter | TRIBUTARY OF CALDY BROOK |  |  | Commissioned in 2019 - full year data expected | 0 | 0 | 100
Dwr Cymru Welsh Water | 5 DEE COTTAGES CSO |  | CM0170101 | CM0170101 |  | CSO on sewer network | SJ2760178628 | GB531206908100 | MERSEY | DEE ESTUARY |  |  | Commissioned pre-2016 - full year data expected | 6.25 | 11 | 71.76 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | EARLE DRIVE - PARKGATE ROAD CSO |  | CM0169901 | CM0169901 |  | CSO on sewer network | SJ2783477647 | GB531206908100 | MERSEY | DEE ESTURARY |  |  | Commissioned pre-2016 - full year data expected | 0 | 0 | 60.23 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | NESTON PARKGATE PUMPING STATION |  | CM0170001 | CM0170001 | A1 | Storm discharge at pumping station | SJ2783477644 | GB531206908100 | MERSEY | DEE ESTUARY |  |  | Commissioned in 2016 - full year data expected | 849.75 | 81 | 99.81
Dwr Cymru Welsh Water | PEMBRIDGE CSO |  | EPRJP3525XF | JP3525XF |  | CSO on sewer network | SO3907658475 | GB109055041840 | Arrow - conf Gilwern Bk to conf R Lugg | THE RIVER ARROW |  |  | Commissioned in 2018 - full year data expected | 105.75 | 45 | 99.94
Dwr Cymru Welsh Water | PETTY BRIDGE SPS |  | AN0270001 | AN0270001 | 1 | Storm discharge at pumping station | SO6583554452 | GB109055036780 | Frome - conf Tedstone Bk to conf R Lugg | RIVER FROME |  |  | Commissioned in 2017 - full year data expected | 75.75 | 54 | 99.92 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | GROSVENOR BRIDGE CSO |  | CG0355401 | CG0355401 |  | CSO on sewer network | SJ4001065463 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 6.75 | 2 | 100
Dwr Cymru Welsh Water | REAR OF 22 CURZON PARK NORTH CSO |  | CG0361001 | CG0361001 |  | CSO on sewer network | SJ3976865536 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 0.5 | 1 | 97.43
Dwr Cymru Welsh Water | ROSS LOWER CLEEVE WWTW |  | AS1003701 | AS1003701 | B | Storm tank at WwTW | SO 58370 23520 | GB109055037112 | Wye - Hampton Bishop to conf Kerne Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | - | - | 0 | Installation set-up/design issue | N/A - Ongoing investigation |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | HOPE AND ANCHOR CSO |  | AN0084201 | AN0084201 |  | CSO on sewer network | SO5955624122 | GB109055037112 | Wye - Hampton Bishop to conf Kerne Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 352 | 71 | 99.14 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | RUARDEAN STW |  | AS1003901 | AS1003901 | B | Storm tank at WwTW | SO 61700 18220 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | TRIBUTARY OF LODGEGROVE BROOK |  |  | Commissioned in 2016 - full year data expected | 610 | 48 | 99.92 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SAIGHTON SEWAGE TREATMENT WORKS |  | CM0183401 | CM0183401 | A2 | Storm tank at WwTW | SJ4472661792 | GB111067052140 | Henlake Brook | TRIBUTARY OF POWSEY BROOK |  |  | Commissioned in 2017 - full year data expected | - | - | 0 | Installation set-up/design issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SALTNEY SEWERAGE CHESTER STREET PS |  | CM0020201 | CM0020201 |  | Storm discharge at pumping station | SJ3865065420 | GB531206908100 | MERSEY | DEE |  |  | Commissioned in 2019 - full year data expected | 25 | 18 | 100
Dwr Cymru Welsh Water | SANDY LANE COMBINED SEWER OVERFLOW |  | CM0167201 | CM0167201 |  | CSO on sewer network | SJ4087365903 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2018 - full year data expected | 31.25 | 35 | 100 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SAUGHALL SEAHILL ROAD PS CSO |  | NPSWQD005510 | NPSWQD005510 | A1 | Storm discharge at pumping station | SJ3560069649 | GB111067056960 | Garden City Drain | GARDEN CITY DRAIN |  |  | Commissioned in 2018 - full year data expected | 23.25 | 9 | 100
Dwr Cymru Welsh Water | SAUGHALL VILLAGE CSO |  | CM0059101 | CM0059101 |  | CSO on sewer network | SJ3610069257 | GB111067056960 | Garden City Drain | TRIBUTARY OF RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 45 | 21 | 99.05
Dwr Cymru Welsh Water | SEDBURY SEWAGE PUMPING STATION |  | AN030280101 | AN0302801 | A1 | Storm discharge at pumping station | ST5397893371 | 159 | #N/A | RIVER WYE |  |  | Commissioned in 2017 - full year data expected | 113 | 50 | 99.94 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | SHOBDON STW |  | AN0272501 | AN0272501 |  | Inlet CSO at WwTW | SO4060060510 | GB109055041940 | Pinsley Bk - source to conf R Lugg | PINSLEY BROOK |  |  | Commissioned in 2017 - full year data expected | 567.5 | 126 | 99.93 |  |  | Not asset maintenance - Hydraulic capacity | N/A - Ongoing investigation | Stage 1c: Confirmed "hydraulic issue"
Dwr Cymru Welsh Water | BARGATES NO 2174 CSO |  | CM0200301 | CM0200301 |  | CSO on sewer network | SJ5399141827 | GB111067052200 | Wych Upper (Worthenbury Upper) | TRIBUTARY OF RED BROOK |  |  | Commissioned in 2018 - full year data expected | 58.75 | 75 | 99.08 |  |  | Data collection - EDM non-representative location |  | N/A - Operational solution applied
Dwr Cymru Welsh Water | SMALLBROOK NO 2177 CSO |  | CM0200601 | CM0200601 |  | CSO on sewer network | SJ5368841684 | GB111067052200 | Wych Upper (Worthenbury Upper) | TRIBUTARY OF RED BROOK |  |  | Commissioned in 2017 - full year data expected | 21.75 | 28 | 99.64
Dwr Cymru Welsh Water | JUBILEE PARK NO 3175 CSO |  | CG0342701 | CG0342701 |  | CSO on sewer network | SJ5398441480 | GB111067052200 | Wych Upper (Worthenbury Upper) | TRIBUTARY OF RED BROOK |  |  | Commissioned in 2017 - full year data expected | 30 | 19 | 99.81
Dwr Cymru Welsh Water | WEST OF WEALSTONE LANE CSO |  | CM0116401 | CM0116401 |  | CSO on sewer network | SJ4029168077 | GB111067056930 | Finchetts Gutter | BACHE BROOK |  |  | Commissioned in 2017 - full year data expected | 10.5 | 19 | 100
Dwr Cymru Welsh Water | ST BRIAVELS SEWAGE TREATMENT WORKS |  | AS1004501 | AS1004501 | A2 | Inlet CSO at WwTW | SO5374704785 | 159 | #N/A | WYE ESTUARY |  |  | Commissioned in 2017 - full year data expected | 587.25 | 61 | 99.85
Dwr Cymru Welsh Water | ST MARTINS ALLOTMENTS CSO HEREFORD |  | AN0078501 | AN0078501 |  | CSO on sewer network | SO5072239513 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 170.75 | 33 | 99.91
Dwr Cymru Welsh Water | ST MARTINS SPS NEFOD OSWESTRY |  | CM0230701 | CM0230701 |  | Storm discharge at pumping station | SJ3092036230 | GB111067051600 | Morlas Brook | MORLAIS BROOK |  |  | Commissioned in 2019 - full year data expected | 33.5 | 6 | 99.96
Dwr Cymru Welsh Water | ST.MARTIN'S COMBINED SEWER OVERFLOW |  | CM0081201 | CM0081201 |  | CSO on sewer network | SJ3172336168 | GB109054055010 | Perry - source to conf Common Bk | TRIB.OF MORLAS BROOK |  |  | Commissioned in 2017 - full year data expected | 35.75 | 8 | 100
Dwr Cymru Welsh Water | CSO AT TARRINGTON STW |  | AN0338901 | AN0338901 |  | Storm tank at WwTW | SO6154641491 | GB109055036650 | Tarrington Bk - source to conf R Frome | THE RIVER FROME |  |  | Commissioned in 2016 - full year data expected | 348.75 | 49 | 99.93
Dwr Cymru Welsh Water | MILLBROOK PARK PUMPING STATION |  | CM0190701 | CM0190701 | 1 | Storm discharge at pumping station | SJ4837058721 | GB111067052120 | Aldford Brook | MILLBROOK |  |  | Commissioned in 2018 - full year data expected | 16.25 | 2 | 100
Dwr Cymru Welsh Water | THE DINGLE COMBINED SEWER OVERFLOW |  | CG0361401 | CG0361401 |  | CSO on sewer network | SJ4013065215 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 4.25 | 9 | 93.78
Dwr Cymru Welsh Water | THE DINGLE CHESTER CSO |  | CG0361101 | CG0361101 |  | CSO on sewer network | SJ4017865447 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 85.25 | 48 | 72.85 | Comms failure / issue | Resolved - December |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | THE GROVES CSO |  | CM0125001 | CM0125001 |  | CSO on sewer network | SJ4086865972 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2017 - full year data expected | 105.75 | 40 | 99.85
Dwr Cymru Welsh Water | CSO TILSTON SEWAGE TREATMENT WORKS |  | CM0021602 | CM0021602 |  | Inlet CSO at WwTW | SJ4547551688 | GB111067052120 | Aldford Brook | TRIBUTARY OF CARDEN BROOK |  |  | Commissioned in 2017 - full year data expected | 139.5 | 53 | 99.88 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | WELL STREET COMBINED SEWER OVERFLOW |  | EPRMP3422GZ | MP3422GZ |  | CSO on sewer network | SJ4891747275 | GB111067052230 | Bradley Brook | UNNAMED TRIB OF UNNAMBED RIVER |  |  | Commissioned in 2020 - full year data expected | 0 | 0 | 93.88
Dwr Cymru Welsh Water | MANHOLE 9 CSO |  | AN0125901 | AN0125901 |  | CSO on sewer network | SO4000852556 | GB109055036580 | Stretford Bk - source to conf R Arrow | NEWBRIDGE BROOK |  |  | Commissioned in 2017 - full year data expected | 186.75 | 63 | 98.78 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | WHITECROSS ROAD CSO HEREFORD |  | AN0078001 | AN0078001 |  | CSO on sewer network | SO5030239626 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | BELVEDERE BROOK |  |  | Commissioned in 2016 - full year data expected | 2.25 | 6 | 97.96
Dwr Cymru Welsh Water | WILTON SEWAGE PUMPING STATION |  | AN0372801 | AN0372801 | A1 | Storm discharge at pumping station | SO5844823796 | GB109055037112 | Wye - Hampton Bishop to conf Kerne Br | RIVER WYE |  |  | Commissioned in 2016 - full year data expected | 0 | 0 | 99.93
Dwr Cymru Welsh Water | WYEBANK RD CSO |  | AN0035401 | AN0035401 |  | CSO on sewer network | ST5411793688 | 159 | #N/A | RIVER WYE |  |  | Commissioned in 2017 - full year data expected | 12.25 | 27 | 99.65
Dwr Cymru Welsh Water | #TBC | 50 Mount Pleasant CSO, Saltney | #N/A | Unpermitted-72606 |  | CSO on sewer network | SJ 38797 65622 | 166 | #N/A | RIVER DEE |  |  | Commissioned in 2020 - full year data expected | 94.25 | 74 | 98.69 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | #TBC | 72 Cheyney Road CSO, Chester | #N/A | Unpermitted-73325 |  | CSO on sewer network | SJ 39691 67435 | GB111067056930 | Finchetts Gutter | RIVER DEE |  |  | Commissioned in 2020 - full year data expected | 4.25 | 8 | 99.63
Dwr Cymru Welsh Water | #TBC | Eign Road CSO, Hereford | #N/A | Unpermitted-31896 |  | CSO on sewer network | SO 52217 39259 | GB109055037040 | Yazor Bk - source to conf R Wye | RIVER WYE |  |  | Commissioned in 2020 - full year data expected | 36.25 | 33 | 99.3
Dwr Cymru Welsh Water | #TBC | Belvedere Lane CSO, Hereford | #N/A | Unpermitted-31903 |  | CSO on sewer network | SO 50192 39502 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | UNNAMED TRIB OF RIVER WYE |  |  | Commissioned in 2020 - full year data expected | 2.25 | 6 | 97.96
Dwr Cymru Welsh Water | #TBC | Park West CSO, Heswall | #N/A | Unpermitted-73326 |  | CSO on sewer network | SJ 25908 80903 | 166 | #N/A | GAYTON HOLE |  |  | Commissioned in 2020 - full year data expected | 8 | 11 | 99.85
Dwr Cymru Welsh Water | PETERCHURCH WASTEWATER TREATMENT WK |  | AH1003001 | AH1003001 | A2 | Storm tank at WwTW | SO3480137970 | GB109055036870 | Dore - source to conf R Monmow | River Dore |  |  | Mar 2021 | 6.75 | 7 | 98.98
Dwr Cymru Welsh Water | PONTRILAS WASTEWATER TREATMENT WRKS |  | AH1003301 | AH1003301 | A2 | Storm tank at WwTW | SO3942427742 | GB109055036810 | Dulas Bk - source to conf R Dore | Dulas Brook |  |  | May 2021 | 669.25 | 66 | 100 |  |  |  | N/A - Ongoing investigation
Dwr Cymru Welsh Water | STATION ST COMBINED SEWER OVERFLOW |  | AN0014701 | AN0014701 |  | CSO on sewer network | SO6034024308 | GB109055029730 | Rudhall Bk - source to conf R Wye | The Small Brook |  |  | Commissioned in 2017 - full year data expected | 0 | 0 | 99.91
Dwr Cymru Welsh Water | TANKFIELDS CSO |  | CM0081501 | CM0081501 |  | CSO on sewer network | SJ2920877160 | 166 | #N/A | The Stanney Brook |  |  | Commissioned in 2020 - full year data expected | 88.25 | 41 | 100
Dwr Cymru Welsh Water | CSO AT WILLASTON MILL SPS |  | EPRMP3329GB | MP3329GB |  | Storm discharge at pumping station | SJ3242078130 | GB112068060270 | Dibbinsdale Brook and Clatter Brook | An unnamed tributary of Clatter Brook |  |  | Mar 2021 | 0 | 0 | 99.97
Dwr Cymru Welsh Water | WHITCHURCH (RISING SUN) WWTW |  | CM0073101 | CM0073101 | A2 | Storm tank at WwTW | SJ5144641508 | GB111067052200 | Wych Upper (Worthenbury Upper) | Wych Brook |  |  | Commissioned in 2020 - full year data expected | 804.25 | 101 | 99.99
Dwr Cymru Welsh Water | #TBC | WEOBLEY WWTW | #N/A | Unpermitted-31119 |  | Storm tank at WwTW | SO3955952047 | GB109055036580 | Stretford Bk - source to conf R Arrow | Newbridge Brook |  |  | EDM to be installed by December 2023 | #N/A | #N/A | #N/A | EDM not yet installed | N/A - EDM to be installed by December 2023
Dwr Cymru Welsh Water | #TBC | ROSS-ON-WYE ASHBURTON TRADING ESTATE | #N/A | Unpermitted-31139 |  | Storm discharge at pumping station | SO6074424403 | GB109055029730 | Rudhall Bk - source to conf R Wye | RUDHALL BROOK |  |  | December 2021 | 0.25 | 1 | 100
Dwr Cymru Welsh Water | #TBC | 1 Caradoc Drive CSO, Leominster | #N/A | Unpermitted-75049 |  | CSO on sewer network | SO4999158465 | GB109055041840 | Arrow - conf Gilwern Bk to conf R Lugg | Unknown |  |  | November 2021 | 0.25 | 1 | 100

## Drop Downs - SO
Storm discharge asset type | Initial EDM Commission Date | EDM Operation - Reporting percentage - Primary Reason <90% | EDM Operation - Action taken / planned - Status & Timeframe | High Spill Frequency - Operational Review - Primary Reason (Asset Maintenance) | High Spill frequency - Action taken / planned - Status & Timeframe | High Spill Frequency - Environmental Enhancement - Planning Position (Hydraulic Capacity)
SO on sewer network | Installed but not yet commissioned | Access - Unable to retrieve data from non-telemetry data logger (NB: not to be used for delayed access to fix existing fault) | Scheduled | Performance - Partial / no capacity due to blockage or restriction (e.g. roots / grid) - maintenance issue | Scheduled | SOAF N/A - Proposed SFTP (overflow previously improved)
Storm discharge at pumping station | Commissioned in 2020 - full year data expected | Capital / maintenance works affect EDM operation | Resolved - January | Performance - Sewer collapse (partial / full) - infrastructure issue | Resolved - January | Stage 1a: Confirmed "exceptional weather" issue
Inlet SO at WwTW | Commissioned in 2019 - full year data expected | Comms failure / issue | Resolved - Feburary | Performance - GW inundation | Resolved - Feburary | Stage 1b: Confirmed "asset maintenance" issue
Storm tank at WwTW | Commissioned in 2018 - full year data expected | EDM not yet installed | Resolved - March | Performance - Infiltration | Resolved - March | Stage 1c: Confirmed "hydraulic issue"
Other storm discharge asset type | Commissioned in 2017 - full year data expected | EDM installed - not yet commissioned | Resolved - April | Performance - Asset power failure | Resolved - April | U_INV driver - Stage 2 or 3: Environmental / UWWTR assessments or improvement options appraisal
| Commissioned in 2016 - full year data expected | Installation set-up/design issue | Resolved - May | Performance - Pump failure / issue | Resolved - May | U_INV driver - Stage 4: Cost beneficial outcome not yet determined
| Commissioned pre-2016 - full year data expected | Power failure / issue | Resolved - June | Performance - Other maintenance / capital works (e.g. jetting) | Resolved - June | U_INV driver - Stage 4: No cost beneficial solution
| Jan 2021 | Sensor failure / issue | Resolved - July | Performance - Asset configuration (e.g. PS/rising main/storm tanks) | Resolved - July | U_IMP4 driver - Stage 4: Spill reduction scheme - On current WINEP/AMP7 or Green Recovery
| Feb 2021 | Telemetry or data archiving failure / issue | Resolved - August | Data collection - EDM non-representative location | Resolved - August | U_IMP4 driver - Stage 4: Potential spill reduction scheme - Not yet on current WINEP/AMP7 or Green Recovery
| Mar 2021 | No longer operational as an overflow - permit revoked or to be revoked | Resolved - September | Data collection - Confirmed exceptional weather – Remaining spills not above SOAF threshold | Resolved - September | N/A - Operational solution applied
| April 2021 |  | Resolved - October | Data collection - Tidal / river inundation | Resolved - October
| May 2021 |  | Resolved - November | Not asset maintenance - Hydraulic capacity | Resolved - November
| June 2021 |  | Resolved - December |  | Resolved - December
| July 2021 |  | N/A - Ongoing investigation |  | N/A - Ongoing investigation
| August 2021 |  | N/A - EDM to be installed by December 2023 |  | N/A - Hydraulic capacity
September 2021
October 2021
November 2021
December 2021
EDM to be installed by December 2023